CHECKLIST FOR SAFETY

AND

MAINTENANCE OF FACILITIES

| Name of Establishment: |  | Address: |  |
| --- | --- | --- | --- |
| Type of Establishment: | Institution: ☐ | Person(s) Interviewed: | Post(s): |
|  | Employer: ☐ |  |  |

| HEALTH, SAFETY AND WELFARE PARTICULARS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| GENERAL WORK AREA |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are areas of work orderly, tidy and free of obstruction? | ☐ | ☐ | ☐ | ☐ |  |
| Area floors in good repair and non-slip areas (stairs) treated correctly? | ☐ | ☐ | ☐ | ☐ |  |
| Are access ways and exits kept clear, including access to the building for emergency purposes? | ☐ | ☐ | ☐ | ☐ |  |
| Is the lighting well maintained? | ☐ | ☐ | ☐ | ☐ |  |
| Is the lighting adequate for the tasks undertaken? | ☐ | ☐ | ☐ | ☐ |  |
| Area stairways safe with handrails if needed? | ☐ | ☐ | ☐ | ☐ |  |
| Are electrical fittings in good order? | ☐ | ☐ | ☐ | ☐ |  |
| Is ventilation and cooling of the workplace appropriate to usage throughout the year? | ☐ | ☐ | ☐ | ☐ |  |
| Are noise zones, restricted and safety zones, (e.g., generator areas) clearly marked using appropriate signs? | ☐ | ☐ | ☐ | ☐ |  |
| MEDICAL AND FIRST AID |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are employees trained in first aid? | ☐ | ☐ | ☐ | ☐ |  |
| Are emergency phone numbers posted? | ☐ | ☐ | ☐ | ☐ |  |
| Are First Aid kits easily accessible to each work area? | ☐ | ☐ | ☐ | ☐ |  |
| Are First Aid kits stock as per contents sheet within the kit? | ☐ | ☐ | ☐ | ☐ |  |
| Are contents of the First Aid kit current? | ☐ | ☐ | ☐ | ☐ |  |
| Are means provided for a quick drenching or flushing of the eyes in areas where corrosive liquids are handled? | ☐ | ☐ | ☐ | ☐ |  |
| Have changes occurred since the last inspection? | ☐ | ☐ | ☐ | ☐ |  |
| PERSONAL PROTECTION |  |  |  |  |  |
| Personal | Yes | No | Adequate | Inadequate | Remarks |
| Is appropriate work wear used e.g., overalls, reflective strips, hairnets, gloves, etc.? | ☐ | ☐ | ☐ | ☐ |  |
| Are safety footwear and hard hats worn in designated areas? | ☐ | ☐ | ☐ | ☐ |  |
| Is protective equipment in good condition (e.g., goggles, respirators, etc.)? | ☐ | ☐ | ☐ | ☐ |  |
| Is there provision and use of eye and ear protection? | ☐ | ☐ | ☐ | ☐ |  |
| Are protective goggles, gloves, aprons hairnets and shields used where required? | ☐ | ☐ | ☐ | ☐ |  |
| Are approved respirators provided for regular and emergency used? | ☐ | ☐ | ☐ | ☐ |  |
| FIRE |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are fire warnings posted? | ☐ | ☐ | ☐ | ☐ |  |
| Are there adequate amount of fire extinguishers? | ☐ | ☐ | ☐ | ☐ |  |
| Are fire extinguishers regularly inspected, noted on inspection tag and maintained? | ☐ | ☐ | ☐ | ☐ |  |
| Are workers periodically instructed in the proper use of portable fire extinguishers and fire protection procedures? | ☐ | ☐ | ☐ | ☐ |  |
| Are fire drills carried out on a regular basis? | ☐ | ☐ | ☐ | ☐ |  |
| Are fire doors maintained properly and kept clear? | ☐ | ☐ | ☐ | ☐ |  |
| REST ROOMS & CHANGING FACILITIES |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are toilets and washing facilities clean and sanitary? | ☐ | ☐ | ☐ | ☐ |  |
| Are there Changing Facilities available for use? | ☐ | ☐ | ☐ | ☐ |  |
| Are all washrooms or changing facilities adequately illuminated? | ☐ | ☐ | ☐ | ☐ |  |
| Are Sanitary Conveniences available and accessible | ☐ | ☐ | ☐ | ☐ |  |
| Are Urinals available and accessible | ☐ | ☐ | ☐ | ☐ |  |
| Are Wash Basins available and accessible | ☐ | ☐ | ☐ | ☐ |  |
| Are Shower/Baths available and accessible | ☐ | ☐ | ☐ | ☐ |  |
| OFFICE |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are furniture (e.g., chairs, desk etc.) Defective and /or unsafe? | ☐ | ☐ | ☐ | ☐ |  |
| Are cables (e.g., computers, telephone) well positioned and tidy? | ☐ | ☐ | ☐ | ☐ |  |
| Are cabinets positioned away from doors? | ☐ | ☐ | ☐ | ☐ |  |
| Are guillotines guarded? | ☐ | ☐ | ☐ | ☐ |  |
| Are photocopying machines/printing fluid marked hazards and is ventilated adequately? | ☐ | ☐ | ☐ | ☐ |  |
| Is floor space clear of obstruction (e.g., boxes, equipment)? | ☐ | ☐ | ☐ | ☐ |  |
| Is shelving /storage space secured to wall? | ☐ | ☐ | ☐ | ☐ |  |
| WORKSHOPS/LABORATORIES |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are all areas tidy, workbenches clear of unwanted items, and equipment properly stored? | ☐ | ☐ | ☐ | ☐ |  |
| Are chemicals correctly labeled and stored? | ☐ | ☐ | ☐ | ☐ |  |
| Are general ventilation systems operating correctly and in good order? | ☐ | ☐ | ☐ | ☐ |  |
| Are ventilation levels adequate for the task? | ☐ | ☐ | ☐ | ☐ |  |
| Are lighting fittings in good order? | ☐ | ☐ | ☐ | ☐ |  |
| Are lighting levels adequate? | ☐ | ☐ | ☐ | ☐ |  |
| Are safety signs clearly displaced? | ☐ | ☐ | ☐ | ☐ |  |
| EXITS FIRE, ESCAPES & DOORS |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate |  |
| Are all exits marked with exit signs? | ☐ | ☐ | ☐ | ☐ |  |
| Are all exits kept free from obstructions/ | ☐ | ☐ | ☐ | ☐ |  |
| Are fire escapes clearly marked? | ☐ | ☐ | ☐ | ☐ |  |
| Are there sufficient exits to permit prompt escape in the event of an emergency? | ☐ | ☐ | ☐ | ☐ |  |
| Are doors on cold storage rooms provided an inside release mechanism, which will release the latch and open the door when it is locked on the outside? | ☐ | ☐ | ☐ | ☐ |  |
| Are doors opened inward or outward? | ☐ | ☐ | ☐ | ☐ |  |
| Are doors sliding or roller shutter? | ☐ | ☐ | ☐ | ☐ |  |
| FLOORS, WALKWAYS & STAIRWAYS |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are floors in good repair and non-slip areas (steps) treated correctly? | ☐ | ☐ | ☐ | ☐ |  |
| Are spilled materials cleaned up immediately? | ☐ | ☐ | ☐ | ☐ |  |
| Are aisles, walkways, and passageways clear? | ☐ | ☐ | ☐ | ☐ |  |
| Are stairway safe with handrails where needed? | ☐ | ☐ | ☐ | ☐ |  |
| FLAMMABLE & COMBUSTIBLE MATERIALS AND HAZARDOUS TOXIC SUBSTANCES |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Are flammable and combustible materials stored in proper containers? | ☐ | ☐ | ☐ | ☐ |  |
| Are flammable and combustible materials stored in a proper ventilated room? | ☐ | ☐ | ☐ | ☐ |  |
| Are drums of flammable liquids grounded and bonded to containers when dispensing? | ☐ | ☐ | ☐ | ☐ |  |
| Are all flammable & combustible materials and hazardous toxic substances properly labeled to indicate their content? | ☐ | ☐ | ☐ | ☐ |  |
| Is proper protective equipment available and utilised to protect workers/trainees working with hazardous or toxic materials? | ☐ | ☐ | ☐ | ☐ |  |
| MACHINE GUARDING & EQUIPMENT |  |  |  |  |  |
| Provisions | Yes | No | Adequate | Inadequate | Remarks |
| Is there a training programme to instruct workers on the safe methods if machine operation | ☐ | ☐ | ☐ | ☐ |  |
| Is there a regular programme of inspection to assure the safe operation of machinery and equipment? | ☐ | ☐ | ☐ | ☐ |  |
| Is sufficient clearance provided around and between machines to allow for safe operations, set up and servicing? | ☐ | ☐ | ☐ | ☐ |  |
| Is there a power shut off switch which reach of the operator’s station | ☐ | ☐ | ☐ | ☐ |  |
| Are electrically operated machine grounded? | ☐ | ☐ | ☐ | ☐ |  |
| Are foot-operated switches guarded to prevent accidents? | ☐ | ☐ | ☐ | ☐ |  |
| Are emergency stop buttons coloured red? | ☐ | ☐ | ☐ | ☐ |  |
| Are all pulleys and belts guarded to the floor? | ☐ | ☐ | ☐ | ☐ |  |
| Are machine guards secure and so arranged so that they do not pose a hazard by their use? | ☐ | ☐ | ☐ | ☐ |  |
| Are provisions made to prevent the machine from automatically restarting following a restoration of power after a power outage? | ☐ | ☐ | ☐ | ☐ |  |
| Are hand tools maintained in good condition? | ☐ | ☐ | ☐ | ☐ |  |
| Are temporary/permanent scaffolding arrangements adequate? | ☐ | ☐ | ☐ | ☐ |  |
| EXAMINATION AND TEST OF MACHINERY |  |  |  |  |  |

| Type (examples:- hoist, lifts, tire machine etc) | Number | Date of Last Report | Number of Report | Remarks |
| --- | --- | --- | --- | --- |

NOTES

.............................................................................................................................................................................

.............................................................................................................................................................................

.............................................................................................................................................................................

.............................................................................................................................................................................

RECOMMENDATION

.............................................................................................................................................................................

.............................................................................................................................................................................

.............................................................................................................................................................................

.............................................................................................................................................................................

.............................................................................................................................................................................

.............................................................................................................................................................................

.............................................................................................................................................................................

| Auditors |  |  |
| --- | --- | --- |
| Name | Position | Signature |

Date:_____________________________________________________________________________________